### QUIZ WEEK VI

### 1. Which of the following best describes the purpose of the freshwater system on board a vessel?

A. To store ballast water for trim correction
B. To provide potable and technical water for ship operations
C. To manage bilge and oily water separation
D. To supply water only for firefighting systems
Correct Answer: B

### 2. Which process uses pressure to separate salts and impurities from seawater?

A. Distillation
B. Filtration
C. Reverse Osmosis
D. Chlorination
Correct Answer: C

### 3. Under MARPOL Annex IV, sewage discharge is allowed beyond 12 nautical miles from land if:

A. The sewage is untreated but comminuted
B. The sewage has been disinfected or treated in an approved system
C. The ship is smaller than 400 GT
D. The discharge occurs only during daylight hours
Correct Answer: B

### 4. What is the recommended residual chlorine level for potable water on board?

A. 0.02 – 0.05 ppm
B. 0.2 – 0.5 ppm
C. 1.0 – 2.0 ppm
D. 5.0 ppm
Correct Answer: B

### 5. Which of the following is considered gray water?

A. Waste from toilets
B. Wastewater from showers and laundry
C. Bilge water from machinery spaces
D. Oily water from separators
Correct Answer: B

### 6. The main advantage of using vacuum toilets on ships is:

A. Increased pressure in the sewage line
B. Reduced freshwater consumption per flush
C. Simplified system design and maintenance
D. Elimination of the need for a sewage plant
Correct Answer: B

### 7. What is the primary reason for chlorination of freshwater on board?

A. To improve the taste of water
B. To remove dissolved salts
C. To disinfect and prevent microbial growth
D. To reduce hardness levels
Correct Answer: C

### 8. Which document must record all sewage discharges and treatment operations?

A. Garbage Record Book
B. Oil Record Book
C. Sewage Record Book
D. Ballast Water Log
Correct Answer: C

### 9. Which of the following practices helps reduce water consumption on ships?

A. Running laundry machines half full
B. Using continuous water flow for cleaning
C. Installing low-flow faucets and vacuum toilets
D. Increasing RO plant operating pressure
Correct Answer: C

### 10. Why is water management critical to shipboard environmental protection?

A. It ensures the ship’s ballast system operates correctly
B. It prevents excessive fuel use and minimizes wastewater discharge
C. It simplifies cargo handling operations
D. It reduces the need for bilge alarms
Correct Answer: B